## QLD1 Gen
Location | Voltage (kV) | DUID | Connection point ID | TNI | 2018-19 MLF | 2017-18 MLF
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.8934 | 0.9689
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9346 | 1.0238
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9346 | 1.0238
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9709 | 0.9607
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9709 | 0.9607
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9709 | 0.9607
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9709 | 0.9607
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9048 | 0.9146
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9074 | 0.9161
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9074 | 0.9161
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9069 | 0.9235
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9069 | 0.9235
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.908 | 0.9211
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.908 | 0.9211
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8727 | 0.9823
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9882 | 0.9688
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9709 | 0.9607
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9206 | 0.9402
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9812 | 0.9711
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9206 | 0.9402
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9206 | 0.9402
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.924 | 0.9431
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.924 | 0.9431
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.8741 | 0.9638
Hughenden SF | 132 | HUGSF1 | QROG2H | QROG | 0.8842 | 1.0114
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9523 | 1.0181
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9523 | 1.0181
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.8842 | 1.0114
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9743 | 0.9635
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9523 | 1.0181
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9812 | 0.9737
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9812 | 0.9737
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.8842 | 0.9964
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.8842 | 0.9964
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.8842 | 0.9964
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9562 | 0.9667
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9562 | 0.9667
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.8842 | 1.0114
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9104 | 0.9366
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9075 | 0.9329
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9075 | 0.9329
Staplyton | 110 | STAPLYTON1 | QLGH4S | QLGH | 1.0116 | 1.0112
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0092 | 1.0424
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 1.0009 | 1.0019
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9755 | 0.9713
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9752 | 0.9712
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9752 | 0.9712
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.8741 | 0.9569
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9939 | 0.9935
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9939 | 0.9935
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9974 | 0.9975
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9974 | 0.9975
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9346 | 1.0035
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9245 | 0.9435

## NSW1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9538 | 0.952
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9538 | 0.952
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9555 | 0.9532
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9555 | 0.9532
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.99 | 1.0506
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9819 | 0.9847
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 1.0603 | 1.2841
Burrinjuck | 132 | BURRIN | NBUK | NBUK | 1.0124 | 1.0275
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 1.01 | 1.0163
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9827 | 0.9831
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9827 | 0.9831
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9828 | 0.982
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9828 | 0.982
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9853 | 0.9846
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9853 | 0.9846
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9853 | 0.9846
Griffith Solar Farm | 33 | PARSF1 | NPG11P | NGG1 | 1.0603 | 1.1162
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9959 | 1.001
Gullen Range Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9959 | 1.001
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9537 | 0.9658
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 1.0256 | 1.0426
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 1.0675 | 1.1055
Kangaroo Valley – Bendeela (Shoalhaven) Generation – dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9981 | 0.9931
Kangaroo Valley (Shoalhaven) Pumps – dual MLF | 330 | SHPUMP | NSHP1 | NSHLPUMP | 1.0137 | 1.0141
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9537 | 0.9509
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9537 | 0.9509
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9954 | 1.0155
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 1.0438 | 1.0748
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 1.0545 | 1.0533
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 1.0438 | 1.0748
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 1.0438 | 1.0748
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9738 | 0.9725
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9738 | 0.9725
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9738 | 0.9725
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9069 | 0.8964
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9069 | 0.8964
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9069 | 0.8964
Parkes Solar Farm | 66 | GRISF1 | NGG11G | NPG1 | 0.9964 | 1.0135
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.8821 | 0.878
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 1.0062 | 1.0665
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 1.0112 | 1.0356
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.9609 | 1.0087
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.9609 | 1.0087
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9851 | 0.9845
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9851 | 0.9845
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9851 | 0.9845
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 1.01 | 1.0163
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8413 | 0.8468
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 1.0438 | 1.0563
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 1.0266 | 1.0362
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 1.0266 | 1.0362
Mugga Lane SF @ Gilmore4 | 132 |  |  | AMS1 | 1.02 | 1.0395
Royalla Solar Farm @ Theodore4 | 132 |  |  | ARS1 | 1.0178 | 1.0386

## VIC1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Ararat WF | 220 | ARWF1 | VART1A | VART | 0.9691 | 1.0019
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9249 | 0.9372
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VRC6 | 1.0062 | 1.1068
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9839 | 0.9874
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9249 | 0.9372
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9782 | 0.9696
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9782 | 0.9696
Hazelwood PS Load | 220 | HWPNL1 | VHWPL | VHWP | 0.9813 | 0.982
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9783 | 0.983
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9783 | 0.983
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9783 | 0.983
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0124 | 1.0474
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.9911 | 1.0357
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 1.0018 | 1.0081
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 1.0018 | 1.0081
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9798 | 0.9801
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9798 | 0.9801
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9798 | 0.9801
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9798 | 0.9801
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9971 | 1.0017
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9265 | 0.9213
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9961 | 1.005
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9961 | 1.005
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.9909 | 1.001
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9069 | 0.8964
Newport PS | 220 | NPS | VNPS | VNPS | 0.9962 | 0.999
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 1.0076 | 1.0193
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9798 | 0.9801
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9798 | 0.9801
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9798 | 0.9801
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9798 | 0.9801
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9798 | 0.9801
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9798 | 0.9801
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9784 | 0.9997
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 0.9607 | 0.954
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 0.9607 | 0.954
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.9696 | 0.9702
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9573 | 0.9558
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9573 | 0.9558
Yaloak South WF | 66 | YSWF1 | VBAT4Y | VBAT | 1.0016 | 1.016

## SA1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Bungala one Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.97 | 0.9946
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.886 | 0.8965
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9683 | 0.9787
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 1.003 | 1.0019
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 1.003 | 1.0019
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 1.003 | 1.0019
Dalrymple North BESS - Gen | 33 | DALNTH01 | SDAN1D | SDAN | 0.888 | 0.8848
Dalrymple North BESS - Load | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9326 | 0.9099
Hallett 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.9715 | 0.9818
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9715 | 0.982
Hallett Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9715 | 0.982
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9744 | 0.9799
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9744 | 0.9799
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9744 | 0.9799
Hornsdale Battery – generation | 275 | HPRG1 | SMTL1H | SMTL | 0.9771 | 0.9886
Hornsdale Battery – load | 275 | HPRL1 | SMTL2H | SMTL | 0.9853 | 0.9886
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9474 | 0.917
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9474 | 0.917
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9144 | 0.8906
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9144 | 0.8906
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9144 | 0.8906
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9942 | 0.9941
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9055 | 0.9172
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9674 | 0.9798
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9992 | 0.9988
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 1.0005 | 1.0012
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 1.0383 | 1.051
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9691 | 1.0158
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9854 | 0.9856
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9854 | 0.9856
Snowtown WF Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9813 | 0.9869
Snowtown WF Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9813 | 0.9869
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9203 | 0.9296
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9325 | 0.9318
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9674 | 0.9798
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 1.0009 | 1.0016
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 1.0009 | 1.0016
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 1.0009 | 1.0016
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9712 | 0.9751
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8279 | 0.833

## TAS1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2018-19 MLF | 2017-18 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.941 | 0.9486
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 1.0003 | 1.0001
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 1.0003 | 1.0001
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 1.0003 | 1.0001
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.8952 | 0.9025
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.935 | 0.9216
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9628 | 0.963
Cluny | 220 | CLUNY | TCL11 | TCL1 | 1.0019 | 0.9908
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9692 | 0.9703
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.966 | 0.9671
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9868 | 0.9594
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9365 | 0.9445
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9385 | 0.9487
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9701 | 0.9711
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9282 | 0.9402
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9773 | 0.977
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9105 | 0.9133
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9771 | 0.9668
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9912 | 0.9813
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9799 | 0.9677
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.935 | 0.9399
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9264 | 0.9402
Repulse | 220 | REPULSE | TCL12 | TCL1 | 1.0019 | 0.9908
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.966 | 0.9671
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 0.9999 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 1.0003 | 1.0001
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9405 | 0.9338
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9909 | 0.9898
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9377 | 0.9466
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9184 | 0.9233
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9977 | 0.9919
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9701 | 0.9711
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.014 | 1.0017
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9965 | 0.9938