## QLD1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.8735 | 0.8862
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9144 | 0.9346
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9144 | 0.9346
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9702 | 0.9709
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9702 | 0.9709
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9702 | 0.9709
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9702 | 0.9709
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9702 | 0.9709
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9702 | 0.9709
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9024 | 0.9048
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9022 | 0.9074
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9022 | 0.9074
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.905 | 0.9069
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.905 | 0.9069
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9025 | 0.908
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9025 | 0.908
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8596 | 0.8727
Clermont Solar Farm | 132 | CLERMSF1 | QLLV3C | QLLV | 0.8735 | 0.8862
Coopers Gap Wind Farm | 275 | COOPGWF1 | QCPG1C | QCPG | 0.9705 | 0.9742
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9702 | 0.9709
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9822 | 0.9812
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.8494 | 0.8836
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9203 | 0.9206
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9203 | 0.9206
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9203 | 0.9206
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9223 | 0.924
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9223 | 0.924
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9223 | 0.924
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9223 | 0.924
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.8573 | 0.8741
Haughton Solar Farm | 275 | HAUGHT11 | QHAR1H | QHAR | 0.8701 | 0.8623
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.8494 | 0.8836
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.8678 | 0.8842
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9296 | 0.9523
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9296 | 0.9523
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9296 | 0.9523
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9296 | 0.9523
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.8678 | 0.8842
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9711 | 0.9743
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9296 | 0.9523
Lilyvale Solar Farm | 132 | LILYSF1 | QBDR1L | QBDR | 0.8692 | 0.8855
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9797 | 0.9812
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9797 | 0.9812
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.944 | 0.9515
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9037 | 0.8842
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9037 | 0.8842
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9037 | 0.8842
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9589 | 0.9562
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9589 | 0.9562
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.8678 | 0.8842
Rugby Run Solar Farm | 132 | RUGBYR1 | QMPL1R | QMPL | 0.8709 | 0.8703
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9054 | 0.9104
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.906 | 0.9075
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.906 | 0.9075
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.906 | 0.9075
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.906 | 0.9075
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0117 | 1.0116
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0037 | 1.0147
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 1.001 | 1.0009
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9745 | 0.9755
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9748 | 0.9752
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9748 | 0.9752
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9748 | 0.9752
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9748 | 0.9752
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.8573 | 0.8741
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9936 | 0.9939
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9936 | 0.9939
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9976 | 0.9974
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9976 | 0.9974
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9156 | 0.9346
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9225 | 0.9245

## NSW1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9592 | 0.9538
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9592 | 0.9538
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9598 | 0.9555
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9598 | 0.9555
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9243 | 0.9654
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.9391 | 0.99
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9495 | 0.9819
Bomen Solar Farm | 132 | BOMENSF1 | NWGS1B | NWGS | 0.9181
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8538 | 1.0603
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.7566 | 0.9789
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.967 | 1.0124
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9701 | 1.01
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.8689 | 1.0019
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9852 | 0.9827
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9852 | 0.9827
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9852 | 0.9827
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9852 | 0.9827
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9742 | 0.9963
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9836 | 0.9828
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9836 | 0.9828
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9845 | 0.9853
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9845 | 0.9853
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9845 | 0.9853
Finley Solar Farm | 132 | FINLYSF1 | NFNS1F | NFNS | 0.8461
Goonumbla Solar Farm | 66 | GOONSF1 | NPG12G | NPG1 | 0.9791
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9694 | 0.9959
Gullen Range 1 Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9694 | 0.9959
Gullen Range 2 Wind Farm | 330 | GULLRWF2 | NGUR3G | NGUR | 0.9694
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9016 | 0.9537
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9922 | 1.0256
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9574 | 1.0675
Kangaroo Valley – Bendeela (Shoalhaven) Generation – Dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9769 | 0.9981
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 0.9962 | 1.0137
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9593 | 0.9537
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9593 | 0.9537
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9593 | 0.9537
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9593 | 0.9537
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9593 | 0.9537
Limondale Solar Plant 1 (effective from 30/06/2020) | 220 | LIMOSF11 | NBSF1L | NBSF | 0.7628
Limondale Solar Plant 2 | 22 | LIMOSF21 | NBL21L | NBL2 | 0.7872
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9276 | 0.9954
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.984 | 1.0438
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 0.9986 | 1.0545
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.984 | 1.0438
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.984 | 1.0438
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9714 | 0.9738
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9714 | 0.9738
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9714 | 0.9738
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.9301 | 0.8821
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.8298 | 1.0062
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9514 | 1.0112
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.8671 | 0.9609
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.8671 | 0.9609
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.8671 | 0.9609
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.8671 | 0.9609
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9865 | 0.9851
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9865 | 0.9851
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9865 | 0.9851
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9701 | 1.01
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8394 | 0.8427
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.8394 | 0.8427
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 0.989 | 1.0438
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 0.9645 | 1.02
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 0.9639 | 1.0178

## VIC1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.9038 | 0.9691
Ballarat BESS - Generation | 22 | BALBG1 | VBA21B | VBA2 | 0.9634 | 0.9948
Ballarat BESS - Load | 22 | BALBL1 | VBA22B | VBA2 | 0.983 | 1.0085
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.949 | 0.9249
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.9789 | 0.9839
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9728 | 0.9839
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0012 | 1.0136
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.9139 | 0.9803
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.949 | 0.9249
Dundonnell Wind Farm 1 | 500 | DUNDWF1 | VM051D | VM05 | 0.9812
Dundonnell Wind Farm 2 | 500 | DUNDWF2 | VM052D | VM05 | 0.9812
Dundonnell Wind Farm 3 | 500 | DUNDWF3 | VM053D | VM05 | 0.9812
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9859 | 0.9782
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9859 | 0.9782
Elaine Wind Farm | 220 | ELAINWF1 | VELT3E | VELT | 0.965
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 0.9643 | 1.007
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 1.0191 | 1.0311
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9731 | 0.9783
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9731 | 0.9783
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9731 | 0.9783
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9731 | 0.9783
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9731 | 0.9783
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9731 | 0.9783
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9731 | 0.9783
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0211 | 1.0124
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.9066 | 0.9911
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.9944 | 1.0018
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.9944 | 1.0018
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9754 | 0.9798
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9754 | 0.9798
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9754 | 0.9798
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9754 | 0.9798
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9818 | 0.9971
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9618 | 0.9265
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9852 | 0.9961
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9852 | 0.9961
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.965 | 0.9909
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9539 | 0.9069
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9539 | 0.9069
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9539 | 0.9069
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9539 | 0.9069
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8885 | 0.9549
Newport PS | 220 | NPS | VNPS | VNPS | 0.9922 | 0.9962
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9896 | 0.982
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9742 | 1.0076
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9754 | 0.9798
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9754 | 0.9798
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9754 | 0.9798
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9754 | 0.9798
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9754 | 0.9798
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9754 | 0.9798
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9324 | 0.9784
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8246 | 0.9262
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 0.9989 | 0.9607
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 0.9989 | 0.9607
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9546 | 0.9573
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.965 | 0.9696
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9546 | 0.9573
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9546 | 0.9573
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9546 | 0.9573

## SA1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Barker Inlet PS | 275 | BARKIPS1 | SBPS1B | SBPS | 0.9998
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9717 | 0.97
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9717 | 0.97
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.8858 | 0.886
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9583 | 0.9683
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 0.9971 | 1.003
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 0.9971 | 1.003
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9971 | 1.003
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9748 | 0.9715
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9748 | 0.9715
Hallet 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.977 | 0.9715
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9698 | 0.9744
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9698 | 0.9744
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9698 | 0.9744
Hornsdale Battery (Generation) (effective prior to 25/06/2020) | 275 | HPRG1 | SMTL1H | SMTL | 0.9851 | 0.9771
Hornsdale Battery (Generation) (effective from 25/06/2020) | 275 | HPRG1 | SMTL1H | SMTL | 0.9838
Hornsdale Battery (Load) (effective prior to 25/06/2020) | 275 | HPRL1 | SMTL2H | SMTL | 0.9831 | 0.9853
Hornsdale Battery (Load) (effective from 25/06/2020) | 275 | HPRL1 | SMTL2H | SMTL | 0.9841
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9831 | 0.9474
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9831 | 0.9474
Lake Bonney BESS - Generation | 33 | LBBG1 | SLBB1L | SLBB | 0.9922
Lake Bonney BESS - Load | 33 | LBBL1 | SLBB2L | SLBB | 1.0059
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9777 | 0.9144
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9777 | 0.9144
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9777 | 0.9144
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.9821 | 0.9947
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9795 | 0.9942
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.8935 | 0.9055
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9728 | 0.9674
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9997 | 0.9992
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9989 | 1.0005
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9707 | 1.0383
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9676 | 0.9691
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9852 | 0.9854
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9852 | 0.9854
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9852 | 0.9854
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9852 | 0.9854
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9852 | 0.9854
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9722 | 0.9813
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9722 | 0.9813
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9095 | 0.9203
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9474 | 0.9325
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.0054 | 0.9973
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9728 | 0.9674
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 0.9997 | 1.0009
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 0.9997 | 1.0009
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 0.9997 | 1.0009
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 0.9997 | 1.0009
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9997 | 1.0009
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9997 | 1.0009
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9997 | 1.0009
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9997 | 1.0009
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9677 | 0.9712
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8125 | 0.8279
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9828 | 0.9689

## TAS1 Gen
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2019-20 MLF | 2018-19 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9456 | 0.941
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9997 | 1.0003
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9997 | 1.0003
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9997 | 1.0003
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.89 | 0.8952
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.9305 | 0.935
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9658 | 0.9628
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.9961 | 1.0019
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9698 | 0.9692
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9688 | 0.966
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9594 | 0.9868
Granville Harbour Wind Farm | 220 | GRANWF1 | TGH11G | TGH1 | 0.959
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.937 | 0.9365
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9257 | 0.9385
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9716 | 0.9701
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9347 | 0.9282
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9716 | 0.9773
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.906 | 0.9105
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9702 | 0.9771
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9846 | 0.9912
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9728 | 0.9799
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.941 | 0.935
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9351 | 0.9264
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.9961 | 1.0019
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9688 | 0.966
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 0.9999
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9997 | 1.0003
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9363 | 0.9405
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9889 | 0.9909
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9401 | 0.9377
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9065 | 0.9184
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9936 | 0.9977
Wild Cattle Hill Wind Farm | 220 | CTHLWF1 | TWC11C | TWC1 | 0.986
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9716 | 0.9701
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0064 | 1.014
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9938 | 0.9965