## QLD1 Gen
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Baking Board Solar Farm (Chinchilla Solar Farm) | 132 | BAKING1 | QCHS1C | QCHS | 0.9664 | 0.9886
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.935 | 0.9064
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.9334 | 0.9267
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9623 | 0.9832
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9623 | 0.9832
Bluegrass Solar Farm | 132 | BLUEGSF1 | QCBS1B | QCBS | 0.96 | 0.9549
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.963 | 0.9629
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.963 | 0.9629
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.963 | 0.9629
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.963 | 0.9629
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0087 | 1.0083
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9392 | 0.9266
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9392 | 0.9266
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9404 | 0.9251
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9404 | 0.9251
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9361 | 0.9274
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9361 | 0.9274
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9351 | 0.9257
Childers Solar Farm | 132 | CHILDSF1 | QTBS1C | QTBS | 0.9823 | 0.9797
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.9177 | 0.9197
Clermont Solar Farm | 132 | CLERMSF1 | QLLV3C | QLLV | 0.9334 | 0.9267
Collinsville Solar Farm | 33 | CSPVPS1 | QCOS1C | QCOS | 0.9268 | 0.9247
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9744 | 0.9825
Coopers Gap Wind Farm | 275 | COOPGWF1 | QCPG1C | QCPG | 0.9685 | 0.9683
Daandine PS - Dual MLF (Generation) | 110 | DAANDINE | QTKM1 | QTKM | 0.9792 | 0.9774
Daandine PS - Dual MLF (Load) | 110 | DAANDINE | QTKM1 | QTKM | 0.9827 | 0.9774
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.963 | 0.9629
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9796 | 0.9762
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.9296 | 0.9268
Emerald Solar Farm | 66 | EMERASF1 | QLIS1E | QLIS | 0.9333 | 0.9237
Gangarri Solar Farm | 132 | GANGARR1 | QWSS1G | QWSS | 0.9921 | 0.9959
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9716 | 0.9585
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9581 | 0.947
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9581 | 0.947
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9581 | 0.947
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9623 | 0.9519
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9623 | 0.9519
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9923 | 0.9844
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9923 | 0.9844
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.9238 | 0.9239
Haughton Solar Farm | 275 | HAUGHT11 | QHAR1H | QHAR | 0.93 | 0.9356
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.9296 | 0.9268
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.9369 | 0.9395
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.9501 | 0.9272
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9956 | 0.9918
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9702 | 0.9656
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9702 | 0.9656
Kennedy Energy Park Battery (Generation) | 132 | KEPBG1 | QROW3K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Battery (Load) | 132 | KEPBL1 | QROW4K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Solar Farm | 132 | KEPSF1 | QROW2K | QROW | 0.9808 | 0.9912
Kennedy Energy Park Wind Farm | 132 | KEPWF1 | QROW1K | QROW | 0.9808 | 0.9912
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.9369 | 0.9395
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9698 | 0.9694
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9702 | 0.9656
Lilyvale Solar Farm | 33 | LILYSF1 | QBDR1L | QBDR | 0.9323 | 0.9276
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.9334 | 0.9267
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9871 | 0.9549
Maryorough Solar Farm (Brigalow Solar Farm) | 110 | MARYRSF1 | QMRY2M | QMRY | 0.9861 | 0.9789
Middlemount Sun Farm | 66 | MIDDLSF1 | QLIS2M | QLIS | 0.9333 | 0.9237
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9762 | 0.9733
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9762 | 0.9733
Moranbah Generation - Dual MLF (Generation) | 11 | MORANBAH | QMRL1M | QMRL | 1.0026 | 0.9877
Moranbah Generation - Dual MLF (Load) | 11 | MORANBAH | QMRL1M | QMRL | 1.0026 | 0.9852
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 1.0014 | 0.9949
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.9575 | 0.9835
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.916 | 0.9286
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.916 | 0.9286
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.916 | 0.9286
Oakey 1 Solar Farm | 110 | OAKEY1SF | QTKS1O | QTKS | 0.98 | 0.9711
Oakey 2 Solar Farm | 110 | OAKEY2SF | QTKS2O | QTKS | 0.98 | 0.9711
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.953 | 0.9536
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.953 | 0.9536
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9716 | 0.9585
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9716 | 0.9585
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0087 | 1.0083
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9761 | 0.9679
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9761 | 0.9679
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.9369 | 0.9395
Rugby Run Solar Farm | 132 | RUGBYR1 | QMPL1R | QMPL | 0.9224 | 0.9156
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9527 | 0.9463
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9409 | 0.9338
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9409 | 0.9338
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0087 | 1.0083
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 1.0029 | 1.0019
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.0095 | 1.0091
Susan River Solar Farm | 132 | SRSF1 | QTBS2S | QTBS | 0.9823 | 0.9797
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 0.9976 | 0.9971
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9737 | 0.9723
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9729 | 0.9719
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9729 | 0.9719
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 0.9992 | 1.0001
Wandoan BESS (Generation) | 132 | WANDBG1 | QWSB1W | QWSB | 0.9767 | 0.9764
Wandoan BESS (Load) | 132 | WANDBL1 | QWSB2W | QWSB | 1.0007 | 1.0054
Warwick Solar Farm 1 | 110 | WARWSF1 | QMRY3W | QMRY | 0.9861 | 0.9789
Warwick Solar Farm 2 | 110 | WARWSF2 | QMRY4W | QMRY | 0.9861 | 0.9789
Western Downs Green Power Hub | 275 | WDGPH1 | QWDR1W | QWDR | 0.9757 | 0.9704
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.9218 | 0.9231
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 1.0201 | 1.0291
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9913 | 0.9903
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9913 | 0.9903
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9994 | 0.9974
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9994 | 0.9974
Wivenhoe Small Hydro - Dual MLF (Generation) | 110 | WIVENSH | QABR1 | QABR | 0.9995 | 1.001
Wivenhoe Small Hydro - Dual MLF (Load) | 110 | WIVENSH | QABR1 | QABR | 0.998 | 1.001
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9572 | 0.9661
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9237 | 0.9755
Yarranlea Solar Farm | 110 | YARANSF1 | QMRY1Y | QMRY | 0.9861 | 0.9789
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9627 | 0.9544

## NSW1 Gen
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
AGL Sita Landfill 1 | 132 | AGLSITA1 | NLP13K | NLP1 | 1.0011 | 1.0015
Appin Power Station | 66 | APPIN | NAPP1A | NAPP | 0.9973 | 0.9975
Bango 973 Wind Farm | 132 | BANGOWF1 | NBA21B | NBA2 | 0.9107 | 0.9134
Bango 999 Wind Farm | 132 | BANGOWF2 | NBB21B | NBB2 | 0.9283 | 0.9294
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9653 | 0.9622
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9653 | 0.9622
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9653 | 0.962
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9653 | 0.962
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9289 | 0.9184
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.9064 | 0.9444
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9355 | 0.9359
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9595 | 0.9581
Bomen Solar Farm | 132 | BOMENSF1 | NWGS1B | NWGS | 0.9089 | 0.8875
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 1.0079 | 1.008
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8685 | 0.858
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.8381 | 0.7953
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 0.9625 | 0.9673
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9862 | 0.9903
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.9459 | 0.9653
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 0.9976 | 0.9987
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9558 | 0.9563
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.877 | 0.8478
Collector Wind Farm | 330 | COLWF01 | NCLW1C | NCLW | 0.9581 | 0.9588
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9864 | 0.9851
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9864 | 0.9851
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9771 | 0.9947
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9461 | 0.9482
Corowa Solar Farm | 132 | CRWASF1 | NAL11C | NAL1 | 0.9242 | 0.8813
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9611 | 0.9616
Crudine Ridge Wind Farm | 132 | CRURWF1 | NCDS1C | NCDS | 0.9381 | 0.9246
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9485 | 0.9082
Darlington Point Solar Farm | 132 | DARLSF1 | NDNS1D | NDNS | 0.888 | 0.8587
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.001 | 1.001
Eastern Creek 2 | 132 | EASTCRK2 | NSW23L | NSW2 | 1.001 | 1.001
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9865 | 0.9849
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9865 | 0.9849
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9865 | 0.9849
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9877 | 0.9858
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9877 | 0.9858
Eraring PS Load | 500 | ERNL1 | NEPSL | NNEW | 0.9942 | 0.9917
Finley Solar Farm | 132 | FINLYSF1 | NFNS1F | NFNS | 0.9036 | 0.8432
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9788 | 0.9764
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9346 | 0.9365
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9788 | 0.9764
Goonumbla Solar Farm | 66 | GOONSF1 | NPG12G | NPG1 | 0.8818 | 0.8918
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 1.0001 | 1
Griffith Solar Farm | 33 | GRIFSF1 | NGG11G | NGG1 | 0.8862 | 0.8547
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9592 | 0.9595
Gullen Range 1 Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9592 | 0.9595
Gullen Range 2 Wind Farm | 330 | GULLRWF2 | NGUR3G | NGUR | 0.9592 | 0.9595
Gunnedah Solar Farm | 132 | GNNDHSF1 | NGNE1G | NGNE | 0.8353 | 0.896
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9485 | 0.9082
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.887 | 0.9006
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9633 | 0.9762
Hillston Solar Farm | 132 | HILLSTN1 | NDNH1H | NDNH | 0.8906 | 0.8593
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9118 | 0.8989
Hunter Economic Zone | 132 | HEZ1 | NNEE1H | NNEE | 0.992 | 0.9897
Jemalong Solar Farm | 66 | JEMALNG1 | NFBS1J | NFBS | 0.8833 | 0.8956
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 0.9625 | 0.9673
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 0.9735 | 0.9838
Junee Solar Farm | 132 | JUNEESF1 | NWGJ1J | NWGJ | 0.9129 | 0.8799
Kangaroo Valley – Bendeela (Shoalhaven) Generation – Dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9733 | 0.9763
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 0.9896 | 0.9919
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9833 | 0.9972
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9659 | 0.9628
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9659 | 0.9628
Limondale Solar Farm 1 | 220 | LIMOSF11 | NBSF1L | NBSF | 0.8314 | 0.807
Limondale Solar Farm 2 | 22 | LIMOSF21 | NBL21L | NBL2 | 0.8309 | 0.7985
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.001 | 1.001
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9092 | 0.9195
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 0.9895 | 0.9525
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.9735 | 0.9838
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.9735 | 0.9838
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.9735 | 0.9838
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0009 | 1.0015
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0009 | 1.0015
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9287 | 0.9333
METZ Solar Farm | 132 | METZSF1 | NMTZ1M | NMTZ | 0.8831 | 0.9208
Molong Solar Farm | 66 | MOLNGSF1 | NMOS1M | NMOS | 0.9433 | 0.9541
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.8275 | 0.8931
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.972 | 0.9726
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.972 | 0.9726
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.972 | 0.9726
Narromine Solar Farm | 132 | NASF1 | NWLS1N | NWLS | 0.9352 | 0.9444
Nevertire Solar Farm | 132 | NEVERSF1 | NWLS3N | NWLS | 0.9352 | 0.9444
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.0061 | 1.0068
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9862 | 0.9903
Parkes Solar Farm | 66 | PARSF1 | NPG11P | NPG1 | 0.8818 | 0.8918
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.947 | 0.9426
Sebastopol Solar Farm | 132 | SEBSF1 | NWGJ2S | NWGJ | 0.9129 | 0.8799
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.7973 | 0.8456
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1.0018 | 1.0017
South Keswick Solar Farm | 132 | SKSF1 | NWLS2S | NWLS | 0.9352 | 0.9444
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0037 | 1.0045
Sunraysia Solar Farm | 220 | SUNRSF1 | NBSF2S | NBSF | 0.8314 | 0.807
Suntop Solar Farm | 132 | SUNTPSF1 | NWLW1S | NWLW | 0.9128 | 0.9159
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0011 | 1.0015
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9901 | 0.9912
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 1.0118 | 1.0122
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 0.9708 | 0.9686
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0011 | 1.0015
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9347 | 0.9335
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.8673 | 0.8625
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.8673 | 0.8625
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9892 | 0.9872
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9892 | 0.9872
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9892 | 0.9872
Wagga North Solar Farm | 66 | WAGGNSF1 | NWGG1W | NWGG | 0.9064 | 0.8869
Wallgrove BESS (Generation) | 132 | WALGRVG1 | NSWB1W | NSWG | 1.001 | 1.0011
Wallgrove BESS (Load) | 132 | WALGRVL1 | NSWB2W | NSWB | 1.0009 | 1.001
Wellington Solar Farm | 132 | WELLSF1 | NWLS4W | NWLS | 0.9352 | 0.9444
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 0.9934 | 0.9929
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.8697 | 0.8708
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8697 | 0.8708
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 0.9926 | 1.005
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 0.9926 | 1.005
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 1.0118 | 1.0122
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9558 | 0.9563
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 0.9746 | 0.9721
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 0.9746 | 0.9721

## VIC1 Gen
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.8894 | 0.8987
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9913 | 0.9874
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9913 | 0.9874
Bald Hills Wind Farm | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9977 | 0.9936
Ballarat BESS (Generation) | 22 | BALBG1 | VBA21B | VBA2 | 0.9663 | 0.9573
Ballarat BESS (Load) | 22 | BALBL1 | VBA22B | VBA2 | 0.9629 | 0.9573
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 0.9699 | 0.9699
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9542 | 0.9861
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VWES | 0.8928 | 0.8633
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9749 | 0.9735
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.9821 | 0.9803
Berrybank Wind Farm | 220 | BRYB1WF1 | VBBT1B | VBBT | 0.9496 | 0.9431
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0066 | 1.0062
Bulgana BESS (Generation) | 220 | BULBESG1 | VBGT2B | VBGT | 0.8839 | 0.8949
Bulgana BESS (Load) | 220 | BULBESL1 | VBGT3B | VBGT | 0.8839 | 0.8949
Bulgana Green Power Hub | 220 | BULGANA1 | VBGT1B | VBGT | 0.8839 | 0.8949
Challicum Hills Wind Farm | 66 | CHALLHWF | VHOT1 | VBAT | 0.9699 | 0.9699
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 0.9699 | 0.9699
Cherry Tree Wind Farm | 66 | CHYTWF1 | VSM71C | VSM7 | 0.9955 | 0.9959
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9972 | 0.9957
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 1.019 | 1.0292
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 0.9972 | 1.0035
Cohuna Solar Farm | 66 | COHUNSF1 | VKGS2C | VKGS | 0.9336 | 0.9127
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0084 | 1.0101
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 0.9933 | 0.9918
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.8877 | 0.8985
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9542 | 0.9861
Diapur Wind Farm | 66 | DIAPURWF1 | VHOG2D | VHOG | 0.8788 | 0.9005
Dundonnell Wind Farm 1 | 500 | DUNDWF1 | VM051D | VM05 | 0.9824 | 0.9789
Dundonnell Wind Farm 2 | 500 | DUNDWF2 | VM052D | VM05 | 0.9824 | 0.9789
Dundonnell Wind Farm 3 | 500 | DUNDWF3 | VM053D | VM05 | 0.9824 | 0.9789
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9951 | 0.9956
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9887 | 0.9995
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9887 | 0.9995
Elaine Wind Farm | 220 | ELAINWF1 | VELT3E | VELT | 0.948 | 0.9459
Ferguson North Wind Farm | 66 | FNWF1 | VTGT6F | VTGT | 0.9972 | 1.0035
Ferguson South Wind Farm | 66 | FSWF1 | VTGT7F | VTGT | 0.9972 | 1.0035
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 1.0026 | 0.9773
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 0.9846 | 0.9933
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.9336 | 0.9127
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9977 | 0.9936
Glenrowan West Sun Farm | 66 | GLRWNSF1 | VGNS1G | VGNS | 0.9671 | 0.9976
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VCBT | 0.9935 | 0.9921
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9962 | 0.9944
Hepburn Community Wind Farm | 66 | HEPWIND1 | VBAT2L | VBAT | 0.9699 | 0.9699
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9535 | 0.9933
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9727 | 0.9755
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9727 | 0.9755
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9727 | 0.9755
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0914 | 1.135
Karadoc Solar Farm | 66 | KARSF1 | VRCS1K | VRCS | 0.8886 | 0.8673
Kiamal Solar Farm | 220 | KIAMSF1 | VKMT1K | VKMT | 0.8775 | 0.8504
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.8788 | 0.9005
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.9949 | 0.9936
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.9949 | 0.9936
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9977 | 0.9936
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9783 | 0.9759
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9783 | 0.9759
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9783 | 0.9759
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9783 | 0.9759
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9807 | 0.9753
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 0.9699 | 0.9699
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9665 | 0.9726
Moorabool Wind Farm | 220 | MOORAWF1 | VELT2M | VELT | 0.948 | 0.9459
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9901 | 0.9865
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9901 | 0.9865
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 0.9972 | 1.0035
Mt Gellibrand Windfarm | 66 | MTGELWF1 | VGTW1M | VGTW | 0.9879 | 0.9862
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.948 | 0.9459
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8661 | 0.8883
Murra Warra Wind Farm - stage 2 | 220 | MUWAWF2 | VMRT2M | VMRT | 0.8661 | 0.8883
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9719 | 0.9966
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9719 | 0.9966
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9719 | 0.9966
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9719 | 0.9966
Newport PS | 220 | NPS | VNPS | VNPS | 0.9919 | 0.9926
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9715 | 0.9963
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 0.9972 | 1.0035
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9951 | 0.9956
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9584 | 0.9515
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0313 | 1.0346
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9924 | 0.9932
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9972 | 0.9957
Stockyard Hill Wind Farm | 500 | STOCKYD1 | VHGT1S | VHGT | 0.9799 | 0.9782
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0313 | 1.0346
Timboon West Wind Farm | 66 | TIMWEST | VTGT5T | VTGT | 0.9972 | 1.0035
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9977 | 0.9936
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9977 | 0.9936
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9783 | 0.9759
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9783 | 0.9759
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9783 | 0.9759
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9783 | 0.9759
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9783 | 0.9759
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9783 | 0.9759
Victorian Big Battery (Generation) | 220 | VBBG1 | VMLB1V | VMLB | 0.9848 | 0.982
Victorian Big Battery (Load) | 220 | VBBL1 | VMLB2V | VMLB | 0.987 | 0.9864
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9233 | 0.9221
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8928 | 0.8633
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 1.0049 | 1.0096
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 1.0049 | 1.0096
William Hovell Hydro PS | 66 | WILLHOV1 | VW061W | VGNT | 1.0182 | 1.0299
Winton Solar Farm | 66 | WINTSF1 | VGNS2W | VGNS | 0.9671 | 0.9976
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9951 | 0.9956
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9977 | 0.9936
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.969 | 0.9663
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9602 | 0.9596
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9602 | 0.9596
Yaloak South Wind Farm | 66 | YSWF1 | VBAT4Y | VBAT | 0.9699 | 0.9699
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 0.9972 | 1.0035
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0313 | 1.0346
Yatpool Solar Farm | 66 | YATSF1 | VRCS2Y | VRCS | 0.8886 | 0.8673
Yawong Wind Farm | 66 | YAWWF1 | VBE62Y | VBE6 | 1.0084 | 1.0101
Yendon Wind Farm | 66 | YENDWF1 | VBAW1Y | VBAW | 0.9497 | 0.9422

## SA1 Gen
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Adelaide Desalination Plant Battery (Generation) | 66 | ADPBA1G | SMVE4D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant Battery (Load) | 66 | ADPBA1L | SMVE5D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant Hydro | 66 | ADPMH1 | SMVE9D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV1 | 66 | ADPPV1 | SMVE6D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV2 | 66 | ADPPV2 | SMVE7D | SMVE | 1.0036 | 1.0055
Adelaide Desalination Plant PV3 | 66 | ADPPV3 | SMVE8D | SMVE | 1.0036 | 1.0055
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0027 | 1.002
Barker Inlet PS | 275 | BARKIPS1 | SBPS1B | SBPS | 0.9996 | 0.9997
Bolivar WWT Plant | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant PV | 66 | BOWWPV1 | SPGW2B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve Diesel | 66 | BOWWDG1 | SPGW5B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve BESS (Generation) | 66 | BOWWBA1G | SPGW3B | SPGW | 1.0002 | 1.0011
Bolivar Wastewater Treatment Plant Reserve BESS (Load) | 66 | BOWWBA1L | SPGW4B | SPGW | 1.0002 | 1.0011
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9567 | 0.9597
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9567 | 0.9597
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9742 | 0.9944
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.9281 | 0.9166
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.953 | 0.9564
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0036 | 1.0055
Dalrymple North BESS (Generation) | 33 | DALNTH01 | SDAN1D | SDAM | 0.9432 | 0.9212
Dalrymple North BESS (Load) | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9113 | 0.9073
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 0.9991 | 1.0002
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 0.9991 | 1.0002
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9991 | 1.0002
Hallet 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.9572 | 0.9606
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9599 | 0.963
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9599 | 0.963
Hornsdale Battery (Generation) | 275 | HPRG1 | SMTL1H | SMTL | 0.9652 | 0.9772
Hornsdale Battery (Load) | 275 | HPRL1 | SMTL2H | SMTL | 0.9681 | 0.9693
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9479 | 0.9518
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9479 | 0.9518
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9479 | 0.9518
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9553 | 0.9883
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9553 | 0.9883
Lake Bonney BESS (Generation) | 33 | LBBG1 | SLBB1L | SLBB | 0.9851 | 1.0022
Lake Bonney BESS (Load) | 33 | LBBL1 | SLBB2L | SLBB | 1.023 | 1.0094
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9585 | 0.9803
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9585 | 0.9803
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9585 | 0.9803
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.9628 | 0.9644
Lincoln Gap Wind Farm (Stage 2) | 275 | LGAPWF2 | SLGW4L | SLGW | 0.9628 | 0.9644
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – dual MLF (Generation) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 0.9944 | 1.0016
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – dual MLF (Load) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 1.0143 | 1.0182
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9793 | 0.9865
Morgan Whyalla Pump Station 1 PV | 3.3 | MWPS1PV1 | SMW11M | SMW1 | 1.0018 | 1.0271
Morgan Whyalla Pump Station 2 PV – Dual MLF (Generation) | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 0.9999 | 0.9664
Morgan Whyalla Pump Station 2 PV – Dual MLF (Load) | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 0.9999 | 0.9994
Morgan Whyalla Pump Station 3 PV – Dual MLF (Generation) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9717 | 0.9719
Morgan Whyalla Pump Station 3 PV – Dual MLF (Load) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9864 | 0.9927
Morgan Whyalla Pump Station 4 PV – Dual MLF (Generation) | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9889 | 0.9751
Morgan Whyalla Pump Station 4 PV – Dual MLF (Load) | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9889 | 0.9874
Morphett Vale East 66 | 66 | SATGS1 | SMVG1L | SMVG | 1.0015 | 1.0021
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9245 | 0.9287
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Generation) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.019 | 1.0058
Murray Bridge - Hahndorf Pipeline 2 – Dual MLF (Load) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.019 | 1.0205
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9539 | 0.9571
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9999 | 0.9999
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9983 | 0.9987
Port Augusta Renewable Energy Park - Wind | 275 | PAREPW1 | SDAP1P | SDAP | 0.9641 | 0.9728
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9945 | 0.9467
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9899 | 0.9505
Pt Stanvac PS | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0036 | 1.0055
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9871 | 0.9858
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9871 | 0.9858
Snapper Point PS | 275 | SNAPPER1 | SNPT1S | SNPT | 0.999 | 0.999
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9162 | 0.9134
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9666 | 0.9678
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9666 | 0.9678
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9388 | 0.9533
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0036 | 1.0055
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.0029 | 1.0113
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 1.0119 | 1.0263
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9539 | 0.9571
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9994 | 0.9999
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9994 | 0.9999
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9582 | 0.9594
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8174 | 0.811
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9549 | 0.9583
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.001 | 1.0008
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 1.0008 | 1.0005

## TAS1 Gen
Generator description | Voltage [kV] | DUID | Connection Point ID | TNI code | 2022-23 MLF | 2021-22 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9334 | 0.9286
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9975 | 0.9982
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9975 | 0.9982
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9975 | 0.9982
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.8951 | 0.8794
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.914 | 0.9049
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9544 | 0.9512
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.985 | 0.9798
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9594 | 0.9566
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9655 | 0.9561
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.94 | 0.928
Granville Harbour Wind Farm | 220 | GRANWF1 | TGH11G | TGH1 | 0.9543 | 0.9314
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9395 | 0.9258
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9142 | 0.9133
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9672 | 0.9608
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9186 | 0.9158
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9824 | 0.983
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0104 | 1.0023
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9168 | 0.8999
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9642 | 0.9587
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9771 | 0.9691
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9625 | 0.9512
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9229 | 0.9193
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9195 | 0.9147
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.985 | 0.9798
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9655 | 0.9561
St Leonards Scheduled Load | 22 | SLDCBLK1 | TSL3SL1S | TSL3 | 0.9945 | 0.9888
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9975 | 0.9982
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9216 | 0.9106
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9891 | 0.9848
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9263 | 0.9133
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.8795 | 0.8859
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9845 | 0.9789
Wild Cattle Hill Wind Farm | 220 | CTHLWF1 | TWC11C | TWC1 | 0.9888 | 0.9809
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9672 | 0.9608